## Components Control System
Article | Description | URL | Amount | Unit Price | Subtotal | Distributor | Comment | Total
9031646921 | DIN41612 64P Typ C Male | 9031646921 | 20 | 2.88 | 57.6 | Mouser | Modulators | 3439.22
9032646825 | DIN41612 64P Typ C Female | 9032646825 | 20 | 2.7 | 54 | Mouser
GCM188R71C104KA37J | 100nF 0603 | GCM188R71C104KA37J | 500 | 0.027 | 13.5 | Mouser
GRM1885C1H111GA01J | 110pF 0603 | GRM1885C1H111GA01J | 30 | 0.112 | 3.36 | Mouser
C0603C271G2GACTU | 270pF 0603 | C0603C271G2GACTU | 25 | 0.42 | 10.5 | Mouser
GCM1885C2A221JA16D | 220pF 0603 | GCM1885C2A221JA16D | 25 | 0.075 | 1.875 | Mouser
EMF316AB7106KLHT | 10µF 1206 | EMF316AB7106KLHT | 50 | 0.215 | 10.75 | Mouser
GCM31CR70J226KE23L | 22µF 1206 | GCM31CR70J226KE23L | 50 | 0.489 | 24.45 | Mouser
GRM1555C1E103JE01D | 10nF 0402 | GRM1555C1E103JE01D | 50 | 0.08 | 4 | Mouser
08055A102KAT2A | 1nF 0805 | 08055A102KAT2A | 100 | 0.162 | 16.2 | Mouser
GCM188R71H103KA37J | 10nF 0603 | GCM188R71H103KA37J | 500 | 0.021 | 10.5 | Mouser
BAT60BE6327HTSA1 | Schottky Diode SOD-323-2 | BAT60BE6327HTSA1 | 30 | 0.406 | 12.18 | Mouser
SN74ALVC00NSR | Quad 2-Input Nand LVC SOIC-14 | https://www.mouser.de/ProductDetail/Texas-Instruments/SN74ALVC00NSR?qs=LfG3tU9ud8CLiczQYRPDsg%3D%3D | 10 | 0.442 | 4.42 | Mouser
SN74LVC04ANS | Hex Inverter LVC SOIC-14 | SN74LVC04ANS | 10 | 0.989 | 9.89 | Mouser
SN74HC688DW | Comparator SO20W | SN74HC688DW | 50 | 1.36 | 68 | Mouser
SN74LVC1G17DCKR | Buffer single SC70-5 | SN74LVC1G17DCKR | 100 | 0.12 | 12 | Mouser
SN74LVC16373DLR | 16-bit Latch | SN74LVC16373DLR | 30 | 1.35 | 40.5 | Mouser
SN74LVC1G32DCKR | Single OR SC70-5 | SN74LVC1G32DCKR | 100 | 0.158 | 15.8 | Mouser
SN74CB3Q16245DLR | 16bit bus switch ssop-48 | SN74CB3Q16245DLR | 20 | 3.07 | 61.4 | Mouser
SN74LVCH16244ADLR | 16bit bus driver ssop-48 | SN74LVCH16244ADLR | 40 | 1.41 | 56.4 | Mouser
SN74LVC1G04DCKR | Single Inverter SC70-5 | SN74LVC1G04DCKR | 100 | 0.134 | 13.4 | Mouser
SN74LVC1G08DCKR | Single 2-Input AND SC70-5 | SN74LVC1G08DCKR | 100 | 0.164 | 16.4 | Mouser
SN74LVC02ADRG4 | Quad 2-Input NOR | SN74LVC02ADRG4 | 18 | 0.394 | 7.092 | Mouser
10129381-904003BLF | Pin-Header 2x2 | 10129381-904003BLF | 16 | 0.102 | 1.632 | Mouser
77313-118-08LF | Pin-Header 2x4 | 77313-118-08LF | 16 | 0.56 | 8.96 | Mouser
SX1100-B | Jumper | SX1100-B | 100 | 0.036 | 3.6 | Mouser
0805AF-102XJRC | 1µH 0805 (2012) | 0805AF-102XJRC | 40 | 1.6 | 64 | Mouser
B82498F1152J | 1.5µH 0805 (2012) | B82498F1152J | 40 | 0.584 | 23.36 | Mouser
WP710A10GD | 3mm LED Green | WP710A10GD | 100 | 0.1 | 10 | Mouser
WP710A10ID | 3mm LED Red | WP710A10ID | 100 | 0.096 | 9.6 | Mouser
RC0603FR-07100KL | 100kOhm 0603 | RC0603FR-07100KL | 500 | 0.008 | 4 | Mouser
RT0603BRE0750RL | 50Ohm 0603 | RT0603BRE0750RL | 100 | 0.11 | 11 | Mouser
ERJ-3EKF2001V | 2kOhm 0603 | ERJ-3EKF2001V | 100 | 0.02 | 2 | Mouser
ERJ-3EKF2200V | 220Ohm 0603 | ERJ-3EKF2200V | 100 | 0.023 | 2.3 | Mouser
ERJ-3GEY0R00V | 0Ohm 0603 | ERJ-3GEY0R00V | 100 | 0.018 | 1.8 | Mouser
ERJ-3EKF1001V | 1kOhm 0603 | ERJ-3EKF1001V | 100 | 0.02 | 2 | Mouser
RC0603FR-07120RL | 120Ohm 0603 | RC0603FR-07120RL | 100 | 0.007 | 0.7 | Mouser
RC0603JR-13150RL | 150Ohm 0603 | RC0603JR-13150RL | 100 | 0.009 | 0.9 | Mouser
ADF08S04 | DIP switch 8 pos | ADF08S04 | 20 | 1.23 | 24.6 | Mouser
CY7C1021DV33-10ZSXIT | 64kx16 SRAM 10ns TSSOP-44II | CY7C1021DV33-10ZSXIT | 20 | 2.84 | 56.8 | Mouser
AD9754ARUZRL7 | 14-Bit ADC | AD9754ARUZRL7 | 20 | 24.95 | 499 | Mouser
DS1100LZ-20+ | 20ns Delay | DS1100LZ-20+ | 10 | 8.09 | 80.9 | Mouser
ADL5385ACPZ-R7 | IQ-Modulator | ADL5385ACPZ-R7 | 10 | 13.37 | 133.7 | Mouser
74LV393PW-Q100J | Counter IC | 74LV393PW-Q100J | 30 | 0.388 | 11.64 | Mouser
AZ1117IH-3.3TRG1 | LDO 3.3V | AZ1117IH-3.3TRG1 | 20 | 0.321 | 6.42 | Mouser
CONSMA002-L-G | SMA Con PCB-Panel | CONSMA002-L-G | 50 | 5.81 | 290.5 | Mouser
710-860080375014 | 470µF 5mm | 860080375014 | 10 | 0.4 | 4 | Mouser | Power Supply
CR1206-FX-3300ELF | 330Ohm 1206 | CR1206-FX-3300ELF | 100 | 0.019 | 1.9 | Mouser
HH18N102J500CT | 1nF 0603 | HH18N102J500CT | 100 | 0.035 | 3.5 | Mouser | RF Splitter
B82498F3331J | 330nH 0805 | B82498F3331J | 10 | 0.484 | 4.84 | Mouser
TQP3M9008 | Broadband Amplifier | TQP3M9008 | 5 | 6.07 | 30.35 | Mouser
GQM2195C2E180FB12D | 18pF 0805 RF capacitor | GQM2195C2E180FB12D | 5 | 1.95 | 9.75 | Mouser | Signal Source
GQM2195C2E220JB12D | 22pF 0805 RF cap | GQM2195C2E220JB12D | 5 | 0.92 | 4.6 | Mouser
GQM2195C2E330FB12D | 33pF 0805 RF cap | GQM2195C2E330FB12D | 5 | 1.35 | 6.75 | Mouser
C1206C104J1RACAUTO | 100nF 1206 | C1206C104J1RACAUTO | 100 | 0.113 | 11.3 | Mouser
SN74LVC1G02DCKR | Single 2-Input NOR SC70-5 | SN74LVC1G02DCKR | 100 | 0.176 | 17.6 | Mouser
SN74LVC14ADRG3 | Hex Schmitt Inverter | SN74LVC14ADRG3 | 5 | 0.54 | 2.7 | Mouser
AISC-1210-15NJ-T | 15nH 1210 | AISC-1210-15NJ-T | 5 | 0.42 | 2.1 | Mouser
AISC-1210-R10J-T | 100nH 1210 | AISC-1210-R10J-T | 5 | 0.42 | 2.1 | Mouser
AISC-1210-82NJ-T | 82nH 1210 | AISC-1210-82NJ-T | 5 | 0.35 | 1.75 | Mouser
AISC-1210-47NJ-T | 47nH 1210 | AISC-1210-47NJ-T | 5 | 0.47 | 2.35 | Mouser
ERJ-6ENF1000V | 100Ohm 0805 | ERJ-6ENF1000V | 100 | 0.018 | 1.8 | Mouser
RC0805FR-0768RL | 68 Ohm 0805 | RC0805FR-0768RL | 100 | 0.017 | 1.7 | Mouser
XLH538128.000000X | 128MHz CXO | XLH538128.000000X | 5 | 2.38 | 11.9 | Mouser
MASWSS0115TR-3000 | RF switch SC70-6 | MASWSS0115TR-3000 | 10 | 1.42 | 14.2 | Mouser
SN74LV595ANSR | 8bit shift register | SN74LV595ANSR | 10 | 1.07 | 10.7 | Mouser | SPI2Parallel
SN74LVC1G14DCKR | Single Schmitt Inverter | SN74LVC1G14DCKR | 100 | 0.128 | 12.8 | Mouser
SN74LV393ANSR | Counter IC | SN74LV393ANSR | 25 | 0.971 | 24.275 | Mouser
ERJ-3EKF1801V | 1.8kOhm 0603 | ERJ-3EKF1801V | 100 | 0.02 | 2 | Mouser
CRCW0603220KFKEAC | 220KOhm 0603 | CRCW0603220KFKEAC | 100 | 0.008 | 0.8 | Mouser
MM74HCT04MX | Hex Inverter HCT | MM74HCT04MX | 3 | 0.69 | 2.07 | Mouser | UBL Splitter
ERJ-3GEYJ331V | 330Ohm 0603 | ERJ-3GEYJ331V | 100 | 0.018 | 1.8 | Mouser
ECS-TXO-2520MV-100-AN-TR | 10MHz TXO | ECS-TXO-2520MV-100-AN-TR | 3 | 3.07 | 9.21 | Mouser | Timing Control
74LVC2G74DP,125 | D-Flip-Flop | 74LVC2G74DP,125 | 5 | 0.51 | 2.55 | Mouser
UMFT4222EV-D | USB 2.0 to SPI Module | UMFT4222EV-D | 2 | 20.63 | 41.26 | Mouser
BCS-112-L-S-TE | Sockel 12x1 | BCS-112-L-S-TE | 4 | 3.32 | 13.28 | Mouser
77311-118-02LF | Pin Header 2x1 | 77311-118-02LF | 4 | 0.24 | 0.96 | Mouser
AJ25HV | Trimmer 1-23pF 750V | AJ25HV | 20 | 48.886 | 977.72 | Digikey
SCA-4-10+ | 4-Way Splitter | SCA-4-10+ | 10 | 7.27 | 72.7 | Mini-Circuits
AKL 320-02 | Anschlussklemme 2-Pol Vert. | AKL 320-02 | 5 | 0.33 | 1.65 | Reichelt
AKL 330-02 | Anschlussklemme 2-Pol Hor. | AKL 330-02 | 5 | 0.35 | 1.75 | Reichelt
AKL 330-03 | Anschlussklemme 3-Pol Hor. | AKL 330-03 | 5 | 0.53 | 2.65 | Reichelt
AKL 349-03 | Stecker 3-Pol | AKL 349-03 | 3 | 1.07 | 3.21 | Reichelt
AKL 349-02 | Stecker 2-Pol | AKL 349-02 | 3 | 0.72 | 2.16 | Reichelt
MW LRS-35-5 | Switching Power Supply 5V 7A | MW LRS-35-5 | 1 | 13.69 | 13.69 | Reichelt
KES 2SI | Einbaustecker + Sicherung | KES 2SI | 10 | 1.99 | 19.9 | Reichelt
WIPPE 1855.1102 | Wippschalter rot beleuchtet | WIPPE 1855.1102 | 10 | 4.35 | 43.5 | Reichelt
GC 2510-MB003 | USB A to Micro-C 30cm | GC 2510-MB003 | 1 | 1.4 | 1.4 | Reichelt
CLIFF CP30207NM | USB Flange | CLIFF CP30207NM | 1 | 6.95 | 6.95 | Reichelt
0
0
SDT 21S | Drucktaster | https://www.reichelt.de/at/de/drucktaster-1a-120vac-1x-ein-gerade-loetfahnen-sdt-21s-p54297.html?&trstct=pol_11&nbc=1 | 5 | 2.12 | 10.6 | Reichelt
KBT RTF-5020 | LED-Schirm | https://www.reichelt.de/at/de/led-halter-fuer-5-mm-leds-schwarz-kbt-rtf-5020-p232233.html?&trstct=pol_1&nbc=1 | 5 | 0.22 | 1.1 | Reichelt
DI 5MM | Distanzhülsen 5mm M3 | https://www.reichelt.de/at/de/distanzhuelsen-metall-6-kant-m3-5mm-di-5mm-p7123.html?&trstct=pos_2&nbc=1 | 100 | 0.1308 | 13.08 | Reichelt
CR 88 Lötpaste | Lötpaste Bleifrei | https://www.reichelt.de/at/de/loetpaste-cr-88-no-clean-bleifrei-sn96-5ag3-5-10-gr-cr-88-p61392.html?&trstct=pol_5&nbc=1 | 1 | 21.78 | 21.78 | Reichelt
Nachbestellungen:
74ALVC08D,118 | Quad AND Gate LVC | 74ALVC08D,118 | 18 | 0.317 | 5.706 | Mouser
ADL5385ACPZ-R7 | IQ-Modulator | ADL5385ACPZ-R7 | 5 | 13.37 | 66.85 | Mouser
0
0
AD8345AREZ-RL7 | I/Q-Modulator | AD8345AREZ-RL7 | 10 | 12.47 | 124.7 | Mouser
ETC1-1-13TR | Transformer | https://www.mouser.de/ProductDetail/MACOM/ETC1-1-13TR?qs=3Wmz%2FrCSAaERPMP6steZ6g%3D%3D | 10 | 1.76 | 17.6 | Mouser

## Components Body Coil
Article | Description | URL | Amount | Unit Price | Subtotal | Distributor | Comment | Total
23X36-1-1125 | Kupferfolie Selbstklebend | 23X36-1-1125 | 4 | 50.74 | 202.96 | Digikey |  | 578.45
0
1181 TAPE (1) | Kupferband, Selbstklebend Leitend | 1181 TAPE (1) | 1 | 80.37 | 80.37 | Mouser
0
KNOPF 14-4 SW | Drehknopf 4mm ohne Deckel | https://www.reichelt.de/at/de/potentiometerknopf-fuer-achse-4-mm-schwarz-knopf-14-4-sw-p42072.html?&trstct=pol_1&nbc=1 | 16 | 1.92 | 30.72 | Reichelt
DECKEL 14M SW | Kappe Schwarz | https://www.reichelt.de/at/de/abdeckkappe-fuer-knopf-14-knebel-20-6-25-6-schwarz-deckel-14m-sw-p42080.html?&nbc=1&trstct=lsbght_sldr::42072 | 8 | 0.45 | 3.6 | Reichelt
DECKEL 14M RT | Kappe Rot | https://www.reichelt.de/at/de/abdeckkappe-fuer-knopf-14-knebel-20-6-25-6-rot-deckel-14m-rt-p42079.html?&nbc=1&trstct=lsbght_sldr::42072 | 8 | 0.45 | 3.6 | Reichelt
VJ1111D330JXLAJ | 33pF 1111 630V RF | VJ1111D330JXLAJ | 100 | 0.51 | 51 | Mouser | Body Array
VJ1111D200JXRAJ | 20pF 1111 1500V RF | VJ1111D200JXRAJ | 10 | 1.24 | 12.4 | Mouser
VJ1111D180JXRAJ | 18pF 1111 1500V RF | VJ1111D180JXRAJ | 25 | 1.24 | 31 | Mouser
VJ1111D561KXDAJ | 560pF 1111 300V RF | VJ1111D561KXDAJ | 10 | 0.73 | 7.3 | Mouser
523-172170 | N Panel Mount SR141 | 523-172170 | 8 | 12.86 | 102.88 | Mouser
SUCOFORM_141 | Semi-Flex Cable .141 | SUCOFORM_141 | 6 | 8.77 | 52.62 | Mouser

## Components RFPA
Article | Description | URL | Amount | Unit Price | Subtotal | Distributor | Comment | Total
LRS-150F-24 | Schaltnetzteil 24V 6.5A 85-264VAC | LRS-150F-24 | 30 | 20.31 | 609.3 | Mouser | Power Supply | 13058.79
LRS-35-12 | Schaltnetzteil 12V 3A 85-264VAC | LRS-35-12 | 10 | 11.63 | 116.3 | Mouser
11302-20 | DiCo 100W | 11302-20 | 10 | 13.82 | 138.2 | Mouser
G200N50W4 | 50Ohm 200W | G200N50W4 | 10 | 8.86 | 88.6 | Mouser
MRFX1K80HR5 | 2kW LDMOS | MRFX1K80HR5 | 10 | 177.25 | 1772.5 | Mouser
MRFE6VS25NR1 | 25W LDMOS | MRFE6VS25NR1 | 10 | 33.87 | 338.7 | Mouser
FN9262-10-06 | C-14 AC Filter with fuse 10A | FN9262-10-06 | 10 | 15.91 | 159.1 | Mouser
SN74LVC04ANS | Hex Inverter SOIC14 | SN74LVC04ANS | 10 | 0.87 | 8.7 | Mouser
PHA-13HLN+ | 1W Amplifier | PHA-13HLN+ | 10 | 13.89 | 138.9 | Mouser | Stage1
GRM155R61C225KE11D | 2.2µF 0402 | GRM155R61C225KE11D | 30 | 0.088 | 2.64 | Mouser
CBR04C159B5GAC | 1.5pF 0402 | CBR04C159B5GAC | 30 | 0.071 | 2.13 | Mouser
CGA2B3X7R1E104K050BB | 100nF 0402 | CGA2B3X7R1E104K050BB | 30 | 0.045 | 1.35 | Mouser
GRM21BR61C106KE15K | 10µF 0805 | GRM21BR61C106KE15K | 100 | 0.039 | 3.9 | Mouser
GCM155R71H102KA37J | 1nF 0402 | GCM155R71H102KA37J | 100 | 0.007 | 0.7 | Mouser
LQH32DN150K53L | 15µH 1206(3225) | LQH32DN150K53L | 30 | 0.196 | 5.88 | Mouser
LQW18AS5N1J00D | 5.1nH 0603 | LQW18AS5N1J00D | 20 | 0.133 | 2.66 | Mouser
NLCV32T-R33M-EFR | 330nH 1206 | NLCV32T-R33M-EFR | 10 | 0.164 | 1.64 | Mouser
36903255S | RF shield 25x25 | https://www.mouser.de/ProductDetail/Wurth-Elektronik/36903255S?qs=ECv811tYSNg3zTXFceofhw%3D%3D | 10 | 2.43 | 24.3 | Mouser
ERJ-2RKF1501X | 1.5kOhm 0402 | ERJ-2RKF1501X | 100 | 0.013 | 1.3 | Mouser
MASWSS0115TR-3000 | RF switch SC70-6 | MASWSS0115TR-3000 | 25 | 1.25 | 31.25 | Mouser
DST2080S | Schottky Diode | DST2080S | 30 | 1.17 | 35.1 | Mouser | 24V PWS
1-282837-0 | Schraubklemmen 5.08mm 10 | 1-282837-0 | 30 | 3.24 | 97.2 | Mouser
KGM31DR72A104KU | 100nF 1206 | KGM31DR72A104KU | 100 | 0.05 | 5 | Mouser
CRM1206QJW-103ELF | 10k 1206 0.5W | CRM1206QJW-103ELF | 100 | 0.048 | 4.8 | Mouser
710-691210910008 | Terminal Block 2.54mm 8Pin | https://www.mouser.de/ProductDetail/Wurth-Elektronik/691210910008?qs=sPbYRqrBIVlp8R8kV5mAfg%3D%3D | 45 | 3.43 | 154.35 | Mouser | Multi PWS
710-691210910002 | Terminal Block 2.54mm 2Pin | https://www.mouser.de/ProductDetail/Wurth-Elektronik/691210910002?qs=sPbYRqrBIVlpmUgpxfjjUA%3D%3D | 10 | 0.967 | 9.67 | Mouser
LM2940IMPX-8.0 | LDO 8V | https://www.mouser.de/ProductDetail/Texas-Instruments/LM2940IMPX-8.0-NOPB?qs=X1J7HmVL2ZHoyZaUTN0%2FLA%3D%3D | 12 | 1.17 | 14.04 | Mouser
LM2940IMPX-5.0 | LDO 5V | LM2940IMPX-5.0/NOPB | 12 | 1.37 | 16.44 | Mouser
EEE-FN1C220R | 22µF Cap 16V | https://www.mouser.de/ProductDetail/Panasonic/EEE-FN1C220R?qs=OlC7AqGiEDl1qZfBJQUkaQ%3D%3D | 50 | 0.179 | 8.95 | Mouser
CGA5L1X7R1C106K160AC | 10µF X7R 1206 16V | CGA5L1X7R1C106K160AC | 30 | 0.211 | 6.33 | Mouser
282857-3 | Schraubklemmen 5.08mm 3pin | 282857-3 | 20 | 1.06 | 21.2 | Mouser
381LX472M080K052 | 4700µF 80V 30-10 | https://www.mouser.de/ProductDetail/Cornell-Dubilier-CDE/381LX472M080K052?qs=oQrZyJBXqWH%2Fjv0tYAwzug%3D%3D | 120 | 3.67 | 440.4 | Mouser | Capacitor Array
282857-4 | Anschlussklemmen 5.08mm 4pin | https://www.mouser.de/ProductDetail/TE-Connectivity/282857-4?qs=tdJWXn2SgN6od76UTwL1iw%3D%3D | 22 | 1.63 | 35.86 | Mouser
DMT10H015LSS-13 | MOSFET 100V Nch SOIC-8 | DMT10H015LSS-13 | 10 | 0.711 | 7.11 | Mouser
SMBJ5371B-TP | 60V Zener Diode DO-214AA | SMBJ5371B-TP | 15 | 0.339 | 5.085 | Mouser
SMBJ5369B-TP | Zener 5W 51V | https://www.mouser.de/ProductDetail/Micro-Commercial-Components-MCC/SMBJ5369B-TP?qs=ZNK0BnemlqGwMK84zNk6xA%3D%3D | 10 | 0.339 | 3.39 | Mouser
BZG05C4V7-HM3-08 | 4.7V Zener Diode DO-214AC | BZG05C4V7-HM3-08 | 15 | 0.3 | 4.5 | Mouser
SQMBW1010RJ | 10Ohm 10W Surge Resistor | SQMBW1010RJ | 25 | 1.26 | 31.5 | Mouser
710-691210910002 | Terminal Block 2.54mm 2Pin | https://www.mouser.de/ProductDetail/Wurth-Elektronik/691210910002?qs=sPbYRqrBIVlpmUgpxfjjUA%3D%3D | 20 | 0.967 | 19.34 | Mouser
1995664 | Anschlussklemmen 5.08mm 4pin 45° | 1995664 | 25 | 3.18 | 79.5 | Mouser
RCC08054K70FKEA | 4.7kOhm 1/4W 0805 | RCC08054K70FKEA | 100 | 0.023 | 2.3 | Mouser
KGM31HR72A105KU | 1µF 1206 100V X7R | KGM31HR72A105KU | 40 | 0.224 | 8.96 | Mouser
GRM31C5C2A104JA01L | 100nF 1206 100V NP0 | GRM31C5C2A104JA01L | 100 | 0.166 | 16.6 | Mouser
GRM3195C2A103JA01D | 10nF 1206 100V NP0 | GRM3195C2A103JA01D | 100 | 0.12 | 12 | Mouser
SN74LVC1G14DBVR | Single Inverter Schmitt Trigger | SN74LVC1G14DBVR | 100 | 0.088 | 8.8 | Mouser
SN74LVC1G17DBVR | Single Schmitt Trigger | SN74LVC1G17DBVR | 100 | 0.098 | 9.8 | Mouser | UBL-Dist
CONSMA002-L-G | SMA Con PCB-Panel | CONSMA002-L-G | 12 | 6.03 | 72.36 | Mouser
EKYB101ELL471MLN3S | 470µF Elko 16x31.5 | EKYB101ELL471MLN3S | 100 | 1.35 | 135 | Mouser | Voltage Control
C0805X103K1GECAUTO | 10nF 0805 100V COG | C0805X103K1GECAUTO | 100 | 0.089 | 8.9 | Mouser
AD8038AKSZ-REEL7 | AD8038 OP-Amp SC70 | AD8038AKSZ-REEL7 | 15 | 2.16 | 32.4 | Mouser
WSC2515500R0FEB | 500 Ohm 1W 2515 | https://www.mouser.de/ProductDetail/Vishay-Dale/WSC2515500R0FEB?qs=RCLU9o6%252BptycS8FQR3vn9A%3D%3D | 30 | 1.91 | 57.3 | Mouser
SDR10EZPJ5R1 | 5Ohm 0805 Surge | SDR10EZPJ5R1 | 100 | 0.042 | 4.2 | Mouser
SUP60061EL-GE3 | 80V p-Channel Mosfet | https://www.mouser.de/ProductDetail/Vishay-Siliconix/SUP60061EL-GE3?qs=TuK3vfAjtkWzs5EzO2t%2F6w%3D%3D | 15 | 2.94 | 44.1 | Mouser
SMBJ5369B-TP | Zener 5W 51V | https://www.mouser.de/ProductDetail/Micro-Commercial-Components-MCC/SMBJ5369B-TP?qs=ZNK0BnemlqGwMK84zNk6xA%3D%3D | 30 | 0.353 | 10.59 | Mouser
DMT10H015LSS-13 | MOSFET 100V Nch SOIC-8 | DMT10H015LSS-13 | 50 | 0.773 | 38.65 | Mouser
ERA-6AED203V | 20kOhm 25ppm | ERA-6AED203V | 100 | 0.076 | 7.6 | Mouser
ERA-6AED821V | 820Ohm 25ppm | ERA-6AED821V | 100 | 0.076 | 7.6 | Mouser
CRS2512QJW-102ELF | 1kOhm | CRS2512QJW-102ELF | 20 | 0.387 | 7.74 | Mouser
3504G3A4K02FTDF | 4.02kOhm 6W | 3504G3A4K02FTDF | 12 | 4.83 | 57.96 | Mouser
SDR10EZPF47R0 | 47Ohm 0805 0.5W | SDR10EZPF47R0 | 100 | 0.053 | 5.3 | Mouser
B41888C7478M000 | 4700µF 35V 18-7.5 13mOhm | B41888C7478M000 | 25 | 2.8 | 70 | Mouser
282857-2 | Anschlussklemmen 5.08mm 2pin | 282857-2 | 12 | 0.928 | 11.136 | Mouser
PMV240SPR | MOSFET 100V P-channel 100V SOT-23-3 | https://www.mouser.de/ProductDetail/Nexperia/PMV240SPR?qs=zW32dvEIR3vbH3NnuIvrPw%3D%3D | 20 | 0.336 | 6.72 | Mouser
C0805C470J1GAC | 47pF 0805 100V C0G | C0805C470J1GAC | 100 | 0.023 | 2.3 | Mouser
3224W-1-103E | 10k Trimmer | 3224W-1-103E | 12 | 3.29 | 39.48 | Mouser
1111SQ-27NGEC | 27nH high Q SMD 1111 | https://www.mouser.de/ProductDetail/Coilcraft/1111SQ-27NGEC?qs=ZjvkaSpyEQnn68JRnf0npA%3D%3D | 25 | 2.72 | 68 | Mouser
LQW2UASR33G00L | 330nH 1008 | https://www.mouser.de/ProductDetail/Murata-Electronics/LQW2UASR33G00L?qs=coxMWmu44UAFK682xTvsgA%3D%3D | 25 | 0.171 | 4.275 | Mouser
GA3093-ALC | 6.6nH | GA3093-ALC | 25 | 2.12 | 53 | Mouser
A02TGLC | 5nH | A02TGLC | 15 | 2.44 | 36.6 | Mouser
VJ1111D560GXLQJ | 56pF 1111 high Q 2% | VJ1111D560GXLQJ | 25 | 1.51 | 37.75 | Mouser
VJ1111D561KXDAJ | 560pF 1111 high Q 10% | VJ1111D561KXDAJ | 50 | 0.512 | 25.6 | Mouser
KGM21BCG1H102JT | 1nF 0805 | KGM21BCG1H102JT | 100 | 0.036 | 3.6 | Mouser
VJ0805A181JXAAC | 180pF | VJ0805A181JXAAC | 100 | 0.08 | 8 | Mouser
VJ1111D102KXDAJ | 1nF 1111 high Q | VJ1111D102KXDAJ | 30 | 0.899 | 26.97 | Mouser
VJ1111D121JXLAJ | 120pF 1111 high Q | VJ1111D121JXLAJ | 20 | 0.55 | 11 | Mouser
VJ1111D330JXRAJ | 33pF 1111 high Q 1500V | VJ1111D330JXRAJ | 30 | 0.89 | 26.7 | Mouser
VJ1111D910JXRAJ | 91pF 1111 high Q 1500V | VJ1111D910JXRAJ | 30 | 0.541 | 16.23 | Mouser
VJ1111D471JXLAJ | 470pF 1111 high Q 630V | VJ1111D471JXLAJ | 30 | 0.53 | 15.9 | Mouser
523-172170 | N Panel Mount SR141 | 523-172170 | 8 | 12.86 | 102.88 | Mouser
0
SUN MF60201VX-1 | Fan 60mm | SUN MF60201VX-1 | 50 | 4.64 | 232 | Reichelt
FANGRILL-60 | Fan metal cover 60mm | FANGRILL-60 | 40 | 0.671 | 26.84 | Reichelt
DA 5MM 2 | Distanzhülse Metall M3 5mm Innen/Außen | DA 5MM 2 | 300 | 0.19 | 57 | Reichelt
VT DI 30MM | Distanzhülse Metall M3 30mm Innen/Innen | VT DI 30MM | 100 | 0.34 | 34 | Reichelt
WIPPE 1835.3102 | Wippschalter 30x22mm Rot | WIPPE 1835.3102 | 12 | 3.98 | 47.76 | Reichelt
381LX472M080K052 | 4700µF 80V 30-10 | https://www.mouser.de/ProductDetail/Cornell-Dubilier-CDE/381LX472M080K052?qs=oQrZyJBXqWH%2Fjv0tYAwzug%3D%3D | 1 | 5.35 | 5.35 | Mouser | Weiteres
B41888C7478M000 | 4700µF 35V 18-7.5 13mOhm | https://www.mouser.de/ProductDetail/EPCOS-TDK/B41888C7478M000?qs=nadT%2FcWsIvCoj5Sp6RUe0w%3D%3D | 25 | 2.38 | 59.5 | Mouser
132291 | SMA-Bulkhead Female | 132291 | 12 | 5.82 | 69.84 | Mouser
455-SUCOFORM_141_CU | .141 Semi flexible coax | https://www.mouser.de/ProductDetail/HUBER+SUHNER/SUCOFORM_141_CU?qs=byeeYqUIh0NIbguKcMmVRw%3D%3D&mgh=1&vip=1&utm_id=20979042634&gad_source=1&gclid=CjwKCAjw9IayBhBJEiwAVuc3fkOcdOjdKdnTILDc8Mz9FcPEDNzQ_atFV1LBwPAfkEutxQZUlveUQxoCMckQAvD_BwE | 10 | 10.43 | 104.3 | Mouser
HLMP-3507-D0002 | Green LED | https://www.mouser.de/ProductDetail/Broadcom-Avago/HLMP-3507-D0002?qs=jT9z6tsiFNkIsPZ0n7gfpA%3D%3D | 12 | 0.393 | 4.716 | Mouser
TLUV5300 | LED bi-Color Gren/Red | https://www.mouser.de/ProductDetail/Vishay-Semiconductors/TLUV5300?qs=EZL1tmm18nGBS%252Bh7PZ3VNw%3D%3D | 12 | 0.354 | 4.248 | Mouser
HLMP-D401 | LED orange | HLMP-D401 | 12 | 0.341 | 4.092 | Mouser
710-691210910002 | Terminal Block 2.54mm 2Pin | https://www.mouser.de/ProductDetail/Wurth-Elektronik/691210910002?qs=sPbYRqrBIVlpmUgpxfjjUA%3D%3D | 50 | 0.881 | 44.05 | Mouser
5ST 4-R | Fuse 4A 250V Slow | 5ST 4-R | 20 | 0.406 | 8.12 | Mouser
0
0
0
1764294 - VQ | Litze H07V-K 2.50mm x100m schwarz | https://www.conrad.de/de/p/helukabel-29145-litze-h07v-k-1-x-2-50-mm-schwarz-100-m-1764294.html | 1 | 42.66 | 42.66 | Conrad
1226218 - VQ | Lötöse 3.2mm montage 100Stk. | https://www.conrad.de/de/p/vogt-verbindungstechnik-2003-68-loetoese-kontaktoberflaeche-verzinnt-100-st-1226218.html | 1 | 4.29 | 4.29 | Conrad
0
GRM3195C2A182JA01D | 1.8nF 100V 1206 ResFreq 130MHz | GRM3195C2A182JA01D | 100 | 0.172 | 17.2 | Mouser
DST2080S | Schottky Diode | DST2080S | 10 | 1.12 | 11.2 | Mouser
455-SUCOFORM_141_CU | .141 Semi flexible coax | https://www.mouser.de/ProductDetail/HUBER+SUHNER/SUCOFORM_141_CU?qs=byeeYqUIh0NIbguKcMmVRw%3D%3D&mgh=1&vip=1&utm_id=20979042634&gad_source=1&gclid=CjwKCAjw9IayBhBJEiwAVuc3fkOcdOjdKdnTILDc8Mz9FcPEDNzQ_atFV1LBwPAfkEutxQZUlveUQxoCMckQAvD_BwE | 3 | 10.43 | 31.29 | Mouser
2631250202 | Ferrite-Kabelkerne D2.95mm L25.4mm | 2631250202 | 20 | 0.264 | 5.28 | Mouser
MMRF1304GNR1 | 25W LDMOS | MMRF1304GNR1 | 6 | 35.89 | 215.34 | Mouser |  | (Identical to MRFE6VS25NR1)
VJ1111D100JXLAJ | 10pF 630V 1111 High Q | VJ1111D100JXLAJ | 50 | 0.606 | 30.3 | Mouser
0
0
LQW2BAS82NG00L | 82nH 0805 2% | LQW2BAS82NG00L | 20 | 0.193 | 3.86 | Mouser | Filter
VJ0805A330GXACW1BC | 33pF 0805 2% | VJ0805A330GXACW1BC | 100 | 0.055 | 5.5 | Mouser
08055U510GAT2A | 51pF 0805 2% | 08055U510GAT2A | 20 | 0.24 | 4.8 | Mouser
RNCP0805FTD150R | 150 Ohm 0805 1% 250mW | RNCP0805FTD150R | 100 | 0.016 | 1.6 | Mouser
RK73H2ATTD37R4F | 37.4 Ohm 0805 1% 250mW | RK73H2ATTD37R4F | 100 | 0.01 | 1 | Mouser
742W-15/20 | 4x IEC-320 C-13 | 742W-15/20 | 2 | 5.43 | 10.86 | Mouser | Power Distribution
716W-15/05 | 1x IEC-320 C-13 | 716W-15/05 | 2 | 0.893 | 1.786 | Mouser
A165E-S-01 | Emergency Shutdown Switch | A165E-S-01 | 1 | 47.58 | 47.58 | Mouser
RTD34005 | Relais 16A, 5V SPST NO | RTD34005 | 6 | 3.97 | 23.82 | Mouser
CL32A107MQVNNWE | 100µF 1210 6.3V SMD | CL32A107MQVNNWE | 10 | 0.377 | 3.77 | Mouser
BAT54 | BAT54 Schottky Diode | BAT54 | 10 | 0.082 | 0.82 | Mouser
DMP2240UDM-7 | Dual P-channel MOSFET | DMP2240UDM-7 | 5 | 0.26 | 1.3 | Mouser
710-691210910002 | Terminal Block 2.54mm 2Pin | https://www.mouser.de/ProductDetail/Wurth-Elektronik/691210910002?qs=sPbYRqrBIVlpmUgpxfjjUA%3D%3D | 10 | 0.895 | 8.95 | Mouser
1705472 | Schraubklemmen 5.08mm 3pin 40° | https://www.mouser.de/ProductDetail/Phoenix-Contact/1705472?qs=uD%2FdkN7XIa2IqztWgSe8tQ%3D%3D | 10 | 2.15 | 21.5 | Mouser
3-128-231 | Rocker Switch 230V 16A with Fuse | 3-128-231 | 2 | 17.94 | 35.88 | Mouser
RS-15-5 | Switching Power Supply 5V 3A | RS-15-5 | 1 | 10.1 | 10.1 | Mouser
EE40100S2-1000U-999 | Fan 40x40 5V | EE40100S2-1000U-999 | 2 | 4.03 | 8.06 | Mouser
KM40 | Fan Finger Guard | KM40 | 2 | 0.772 | 1.544 | Mouser
SN74LVC1G14DBVR | Inverter Schmitt Trigger LVCMOS, SOT-23-5 | SN74LVC1G14DBVR | 100 | 0.083 | 8.3 | Mouser
0
MF35100V2-1000U-A99 | 35mm Fan 5V | MF35100V2-1000U-A99 | 2 | 7.07 | 14.14 | Mouser | Power Distribution
8347 | Fan Finger Guard 35mm | 8347 | 2 | 0.614 | 1.228 | Mouser
03455LS1H | Fuse Holder 5x20mm | 03455LS1H | 5 | 4.7 | 23.5 | Mouser
GA3094-ALC | 12nH High power | GA3094-ALC | 15 | 2.12 | 31.8 | Mouser | HPA
2661000801 | Ferrite-Kabelkerne D2.25mm L7.55mm | 2661000801 | 100 | 0.134 | 13.4 | Mouser
0805YA300FAT2A | 0805 C0G 30pF 1% | 0805YA300FAT2A | 30 | 0.256 | 7.68 | Mouser
LQW2BAS68NG00L | 0805 68nH 2% | LQW2BAS68NG00L | 20 | 0.145 | 2.9 | Mouser
0
RTD34005 | Relais 16A, 5V SPST NO | RTD34005 | 84 | 2.67 | 224.28 | Mouser | Power Distribution
CL32A107MQVNNWE | 100µF 1210 6.3V SMD | CL32A107MQVNNWE | 10 | 0.334 | 3.34 | Mouser
BAT54 | BAT54 Schottky Diode | BAT54 | 100 | 0.046 | 4.6 | Mouser
DMP2240UDM-7 | Dual P-channel MOSFET | DMP2240UDM-7 | 10 | 0.213 | 2.13 | Mouser
710-691210910002 | Terminal Block 2.54mm 2Pin | https://www.mouser.de/ProductDetail/Wurth-Elektronik/691210910002?qs=sPbYRqrBIVlpmUgpxfjjUA%3D%3D | 10 | 0.914 | 9.14 | Mouser
1705472 | Schraubklemmen 5.08mm 3pin 40° | https://www.mouser.de/ProductDetail/Phoenix-Contact/1705472?qs=uD%2FdkN7XIa2IqztWgSe8tQ%3D%3D | 10 | 2.2 | 22 | Mouser
CEE 013-6 TT | CEE Stecker L+N+PE 16A | CEE 013-6 TT | 1 | 3.68 | 3.68 | Reichelt
H07RN F315 10M | Anschlussleitung H07RN-F, 3x1.5mm 10m | H07RN F315 10M | 1 | 17.75 | 17.75 | Reichelt
0
SK 501 200 AL | Heat Sinks | https://www.fischerelektronik.de/web_fischer/de_DE/K%C3%BChlk%C3%B6rper/A01/Standardstrangk%C3%BChlk%C3%B6rper/$catalogue/fischerData/PR/SK501_/index.xhtml | 10 | 43.84 | 438.4 | Fischer Elektronik
0
| 19" Housing 2HU 500mm deep incl. Cutouts | https://www.wk-mechanik.de/19-zoll-gehaeuse/ | 10 | 268.94 | 2689.4 | WK Mechanik
0
Circulator | Circulator 126-130MHz 1000W |  | 10 | 272.69 | 2726.9 | JQL

## Housings
Article | Description | URL | Amount | Unit Price | Subtotal | Distributor | Comment | Total
| Plexiglas Gehäuse Coil |  | 1 | 5500 | 5500 | Derschmidt GmbH | Coil | 8657.2
0
| 19" Housings RFPA |  | 8 | 226 | 1808 | WK Mechanik GmbH | RFPA
0
| 19" Baugruppenträger 3HE |  | 1 | 47.38 | 47.38 | Fischer Elektronik | System
| Führungsschienen |  | 50 | 0.55 | 27.5 | Fischer Elektronik
| Rückwand |  | 1 | 19.2 | 19.2 | Fischer Elektronik
| Frontplatte 3HE 04TE |  | 16 | 6.41 | 102.56 | Fischer Elektronik
| Frontplatte 3HE 10TE |  | 2 | 10.29 | 20.58 | Fischer Elektronik
| Schrauben 100 Stk |  | 1 | 9 | 9 | Fischer Elektronik
| Gewindestreifen Set |  | 1 | 10.17 | 10.17 | Fischer Elektronik
0
| 19" 1HE 260mm |  | 3 | 74.27 | 222.81 | Fischer Elektronik
0
| 19" Rack |  | 1 | 650 | 650
| Rollen |  | 1 | 40 | 40
| Halterungen |  | 10 | 20 | 200

## PCBs
Article | Description | URL | Amount | Unit Price | Subtotal | Distributor | Comment | Total
| PCB Power Supply |  | 2 | 28.75 | 57.5 | Multi Circuit Boards | Control System | 3532.67
| PCB Modulators |  | 10 | 24.8 | 248 | Multi Circuit Boards
| PCB Backplane |  | 2 | 39.64 | 79.28 | Multi Circuit Boards
| PCB RF Splitter active |  | 4 | 18.12 | 72.48 | Multi Circuit Boards
| PCB Signal Source |  | 4 | 18.12 | 72.48 | Multi Circuit Boards
| PCB SPI2Parallel |  | 4 | 36.62 | 146.48 | Multi Circuit Boards
| PCB Timing Control |  | 4 | 53.62 | 214.48 | Multi Circuit Boards
| PCB TR_UBL_Splitter |  | 4 | 18.12 | 72.48 | Multi Circuit Boards
| PCB USB2SPI |  | 4 | 18.12 | 72.48 | Multi Circuit Boards
| SMD_Stencil Modulator |  | 1 | 16.77 | 16.77 | Multi Circuit Boards
| PCB Modulators V1p1 |  | 10 | 24.8 | 248 | Multi Circuit Boards
| PCB Modulators V1p2 |  | 10 | 24.8 | 248 | Multi Circuit Boards
0
| PCB Strip-Con |  | 10 | 6.04 | 60.4 | Multi Circuit Boards | Coil
| Stripline |  | 10 | 17.01 | 170.1 | Multi Circuit Boards
| Decoupling Board |  | 10 | 6.53 | 65.3 | Multi Circuit Boards
| Endcap Board |  | 10 | 6.67 | 66.7 | Multi Circuit Boards
| Matching Network |  | 10 | 7.16 | 71.6 | Multi Circuit Boards
| Matching Network V1p1 |  | 10 | 7.16 | 71.6 | Multi Circuit Boards
0
| 50 Ohm Board 1.55mm FR4 |  | 10 | 3.28 | 32.8 | Multi Circuit Boards | RFPA
| Multi PWS V1p0 1.55mm FR4 |  | 10 | 8.88 | 88.8 | Multi Circuit Boards
| 24V PWS V1p0 1.55mm FR4 |  | 30 | 7.44 | 223.2 | Multi Circuit Boards
| Stage 1 V1p0 1.55mm FR4 |  | 10 | 5.47 | 54.7 | Multi Circuit Boards
| Stage 2 V1p0 1mm FR4 |  | 10 | 7.76 | 77.6 | Multi Circuit Boards
| Circulator V1p0 1.55mm FR4 |  | 10 | 7.41 | 74.1 | Multi Circuit Boards
| UBL Dist V1p0 1.55mm FR4 |  | 10 | 3.47 | 34.7 | Multi Circuit Boards
| Voltage Control V1p0 1.55mm FR4 |  | 10 | 8.18 | 81.8 | Multi Circuit Boards
| HPA 128 Module V1p0 0.5mm RO4350B |  | 10 | 34.88 | 348.8 | Multi Circuit Boards
0
| CAP Array Current Limit |  | 10 | 18.86 | 188.6 | Multi Circuit Boards
| Voltage Control V1p1 1.55mm FR4 |  | 10 | 8.46 | 84.6 | Multi Circuit Boards
| Back SMA |  | 10 | 3.71 | 37.1 | Multi Circuit Boards
| Status Board |  | 10 | 3.67 | 36.7 | Multi Circuit Boards
0
| Stage 2 Amplifier 1mm FR4 |  | 10 | 7.76 | 77.6 | Multi Circuit Boards
| Filter 1.55mm FR4 |  | 12 | 3.12 | 37.44 | Multi Circuit Boards
0